## Calculations
Power source |  | (note 1 kW-yr= 8.76E3 kWh) |  |  | Coal | Tbl 3.10 |  | 40 | for 2000 lbs | 44 | 1 metric ton |  |  | Coal | Tbl 3.10 |  | 40 | for 2000 lbs | 44 | 1 metric ton |  | Gas |  |  | 5.17 | per 1000 cu ft |  |  |  | Nuclear | [6 empty] | Wind | [6 empty] | Micro Hydro | [7 empty] | Solar Thermoelectric (USA-S1) | [7 empty] | Solar Photovoltaic (USA-S2) | [6 empty] | Combined Heat and Power (CHP)
Overnight construction cost [$/kWe] |  |  |  | Tbl 3.10, fig 3.1 | 1161 | $1161/kWe-yr |  | 0.014 | GJ/t |  |  |  | Tbl 3.10, fig 3.1 | 1161 | $1161/kWe-yr |  | 0.014 | GJ/t |  |  |  | 600 | $600/kWe-- Tbl 3.11 |  | 909 | cu ft/GJ |  |  |  | 1894 | $1894--- Table 3.12 | [5 empty] | 1100 | $1000-- Tbl. 4.4 | [5 empty] | 2000 | $2000-- Fig. 4.5 | [6 empty] | 3000 | $3000 --- see Fig 4.8 | [6 empty] | 4000 | Construction cost ~$4000 (Fig 4.8), $1500 from recent iea projections | [5 empty] | 870 | $ 870 - see Tbl 5.1
blue=used in calc | cost in ¢/(kWh/y) (cost 1y of kWh prodn) |  |  |  | 13.2534 | ₵/kWh |  | 61.6 | ¢/GJ |  |  |  |  | 13.2534 | ₵/kWh |  | 61.6 | ¢/GJ |  |  |  | 6.8493 | ₵/kWh/y |  | 4.6995 | $/GJ |  |  |  | 21.621 | [6 empty] | 12.5571 | [6 empty] | 22.8311 | [7 empty] | 34.2466 | [7 empty] | 45.6621 | (equals BM2 divided by the nbr of hrs per yr) | [5 empty] | 9.9315
| construction time [yrs] |  |  |  | 4 | 4 yrs Tble 3.1 |  | 130 | ¢/GJ tbl 3.3 = 62₵/GJ + 68₵/GJ delivery |  |  |  |  | 4 | 4 yrs Tble 3.1 |  | 130 | ¢/GJ tbl 3.3 = 62₵/GJ + 68₵/GJ delivery |  |  |  | 2 | yrs-- Tbl 3.4 |  | 458 | ¢/GJ (avg tbl 3.6)* |  |  |  | 5 | yrs Tbl 3.7 | [5 empty] | 1 | [6 empty] | 3 | [7 empty] | 2 | [7 empty] | 2 | [6 empty] | 3
cost growth | 1.3% |  | costs |  |  |  |  | 0.468 | ₵/kWhh | at 44% conv= | 1.0636 | ₵/kWh |  |  |  |  | 0.468 | ₵/kWhh | at 44% conv= | 1.0636 | ₵/kWh |  |  |  | 1.6488 | ₵/kWhh | at 55% conv= | 2.9978 | ₵/kWh
construction (investm) | ¢/(kWh/y) |  | % Investment |  | Tbl 3.14 | 1.95 | 53.28% |  | This case uses the methods described |  |  |  |  | Tbl 3.14 | 1.95 | 53.28% | [5 empty] | Tbl 3.14 | 0.87 | 20.33% | [5 empty] | Tbl 3.14 | 3.34 | 71.67% |  |  |  |  | Tbl. 4.6 | 3.8 | 79.83% |  |  |  |  | Tbl 4.6 | 9.1 | 90.28% | [5 empty] | Tbl 4.6 | 23.1 | 85.87% | [5 empty] | Tbl 4.6 | 20.4 | 97.7% |  |  |  |  | Tbl 5.2 | 1.27 | 34.6%
costs-> | ¢/(kWh/y) |  | % O&M | $/MWh/10 = ¢/kWh |  | 0.66 | 18.03% |  | in the OECD report, treating construction |  |  |  | $/MWh/10 = ¢/kWh |  | 0.66 | 18.03% | [6 empty] | 0.35 | 8.178% | [6 empty] | 0.85 | 18.24% | [5 empty] | 0.96 | 20.17% |  |  |  |  | (Austria) | 0.98 | 9.722% | 40 | $/kWe |  |  |  |  | 3.8 | 14.13% |  |  | 36.5 |  |  |  | 0.48 | 2.299% | 0.48 ₵/kWh 2005 value |  |  |  |  | 0.21 | 5.722%
overnight constr cost | ¢/(kWh/y) |  | % Fuel |  |  | 1.05 | 28.69% |  | as an investment cost paid out over the | [5 empty] | 1.05 | 28.69% | [6 empty] | 3.06 | 71.5% | [6 empty] | 0.47 | 10.09% | [5 empty] | 0 | 0% | [5 empty] | 0 | 0% | [6 empty] | 0 | 0% | [6 empty] | 0 | 0% | [5 empty] | 2.19 | 59.67% | equals 4.28 minus heat credit of 2.09
cost multiplier | 1 |  | plant life [yrs] |  | 40 |  |  |  | plant life. The adjacent spreadsheet |  |  |  |  | 40 | [7 empty] | 40 | [7 empty] | 40 | [6 empty] | 40 | [14 empty] | 40 | [7 empty] | 40 | [6 empty] | 40
% Tax |  |  | 30% | [5 empty] | treats construction as an up front cost | [12 empty] | *$5.17 is wellhead not delivered cost so $/1000 cu ft must be less than above | [10 empty] | * http://www.world-nuclear.org/info/inf02.html |  |  |  |  | 28% onshore, 43% offshore | [6 empty] | (30 to 60)
sales price of power [¢/kWh] |  |  | 8 |  | 85% | capacity factor |  |  | as in the mine example. The difference is small. |  |  |  |  | 85% | capacity factor | [6 empty] | 85% | capacity factor | [6 empty] | 85% | capacity factor | [5 empty] | 35% | capacity factor (availability) Fig. 4.2 | [5 empty] | 50% | capacity factor (p. 56) | [5 empty] | 24% p59 | 24% | capture efficiency and 50% conversn to ele (15% is base, 24% opt) | [5 empty] | 24% p59 | 20% | capacity factor--20% is base | [5 empty] | 85% | capacity factor
Levelized cost of power production [₵/kWh] |  |  |  |  | 4.57 | [₵/kWh] determined at 0% tax, NPV(life)=0 | [7 empty] | 4.25 | [₵/kWh] determined at 0% tax, NPV(life)=0 | [6 empty] | 5.52 | [₵/kWh] determined at 0% tax, NPV(life)=0 | [6 empty] | 5.01 | [₵/kWh] determined at 0% tax, NPV(life)=0 | [5 empty] | 6.81 | [₵/kWh] determined at 0% tax, NPV(life)=0 | [5 empty] | 4 | [₵/kWh] determined at 0% tax, NPV(life)=0 | [6 empty] | 33.7 | [₵/kWh] determined at 0% tax, NPV(life)=0 | [6 empty] | 22.8 | [₵/kWh] determined at 0% tax, NPV(life)=0, capacity=24% | [5 empty] | 5.17 | [₵/kWh] determined at 0% tax, NPV(life)=0
[5 empty] | NPV | NPV tax |  | NPV | NPV tax |  |  |  |  | NPV | NPV tax |  | NPV | NPV tax |  |  |  | NPV | NPV tax |  | NPV | NPV tax |  |  |  | NPV | NPV tax |  | NPV | NPV tax |  |  | NPV | NPV tax |  | NPV | NPV tax |  |  | NPV | NPV tax |  | NPV | NPV tax |  |  |  | NPV | NPV tax |  | NPV | NPV tax |  |  |  | NPV | NPV tax |  | NPV | NPV tax |  |  | NPV | NPV tax |  | NPV | NPV tax
NPV at 20y [¢/(kWh/yr)] |  |  | NPV tax @20 y |  | 19.8464 | -8.5056 |  | [$/MWe] | [$/MWe] |  |  |  |  | 8.9312 | -8.779 |  | [$/MWe] | [$/MWe] |  |  |  | 9.4131 | -6.8362 |  | [$/MWe] | [$/MWe] |  |  |  | 1.9527 | -8.5646 |  | [$/MWe] | [$/MWe] |  |  | -2.1891 | -4.4434 |  | [$/MWe] | [$/MWe] |  |  | 0.8319 | -9.2787 |  | [$/MWe] | [$/MWe] |  |  |  | -45.0312 | 5.2891 |  | [$/MWe] | [$/MWe] |  |  |  | -37.9194 | -0.34395 |  | [$/MWe] | [$/MWe] |  |  | 5.779 | -8.3309 |  | [$/MWe] | [$/MWe]
NPV at 40y [¢/(kWh/yr)] |  |  | NPV tax @40 y |  | 21.9766 | -9.4186 | ₵/kWh | [6 empty] | 12.7888 | -10.4323 | ₵/kWh | [5 empty] | 11.1172 | -7.5665 | ₵/kWh | [5 empty] | 6.3678 | -10.4568 | ₵/kWh/yr |  |  |  |  | -0.92487 | -4.9852 | ₵/kWh/yr |  |  |  |  | 5.0086 | -11.0687 | ₵/kWh/yr | [5 empty] | -48.144 | 6.6232 | ₵/kWh/yr | [5 empty] | -37.1101 | -0.2475 | ₵/kWh/yr |  |  |  |  | 8.8015 | -9.6095 | ₵/kWh/yr
NPV at life plant [¢/(kWh/yr)] |  |  | NPV tax @life |  | 21.9766 | -9.4186 |  | 1.9252 | -0.82507 | $/We-yr |  |  |  | 12.7888 | -10.4323 |  | 1.1203 | -0.91387 | $/We-yr |  |  | 11.1172 | -7.5665 |  | 0.97387 | -0.66283 | $/We-yr |  |  | 6.3678 | -10.4568 |  | 0.55782 | -0.91601 | $/We-yr |  | -0.92487 | -4.9852 |  | -0.081019 | -0.43671 | $/We-yr |  | 5.0086 | -11.0687 |  | 0.43876 | -0.96962 | $/We-yr |  |  | -48.144 | 6.6232 |  | -4.2174 | 0.58019 | $/We-yr |  |  | -37.1101 | -0.2475 |  | -3.2508 | -0.021681 | $/We-yr |  | 8.8015 | -9.6095 |  | 0.77101 | -0.84179 | $/We-yr
[10 empty] | 350 | MWe plant | [7 empty] | 350 | MWe plant | [6 empty] | 350 | MWe plant | [6 empty] | 350 | MWe plant | [5 empty] | 350 | MWe plant | [5 empty] | 350 | MWe plant | [6 empty] | 350 | MWe plant | [6 empty] | 350 | MWe plant | [5 empty] | 350 | MWe plant
discount rate |  | 10% |  |  | Costs | Revenue | Tax | NPV tax | NPV | NPV | 673.8037 |  |  | Costs | Revenue | Tax | NPV tax | NPV | NPV | 392.1037 |  | Costs | Revenue | Tax | NPV tax | NPV | NPV | 340.8547 |  | Costs | Revenue | Tax | NPV tax | NPV | NPV | 195.2379 | Costs | Revenue | Tax | NPV tax | NPV | NPV | -28.3565 | Costs | Revenue | Tax | NPV tax | NPV | NPV | 153.5648 |  | Costs | Revenue | Tax | NPV tax | NPV | NPV | -1476.0964 |  | Costs | Revenue | Tax | NPV tax | NPV | NPV | -1137.7967 | Costs | Revenue | Tax | NPV tax | NPV | NPV | 269.8551
year | PVIF |  |  |  | all in ¢/kWh/yr |  |  |  |  | NPV tax | -288.773 |  |  | all in ¢/kWh/yr |  |  |  |  | NPV tax | -319.8533 |  | all in ¢/kWh/yr |  |  |  |  | NPV tax | -231.9897 |  | all in ¢/kWh/yr |  |  |  |  | NPV tax | -320.6051 | all in ¢/kWh/yr |  |  |  |  | NPV tax | -152.8472 | all in ¢/kWh/yr |  |  |  |  | NPV tax | -339.3672 |  | all in ¢/kWh/yr |  |  |  |  | NPV tax | 203.0673 |  | all in ¢/kWh/yr |  |  |  |  | NPV tax | -7.5882 | all in ¢/kWh/yr |  |  |  |  | NPV tax | -294.6276
0 | 1 |  |  |  | -3.66 | 6.8 | -0.942 | -0.942 | 2.198 |  | millions |  |  | -3.3134 | 0 | 0 | 0 | -3.3134 |  | millions |  | -3.4247 | 0 | 0 | 0 | -3.4247 |  | millions |  | -4.3242 | 0 | 0 | 0 | -4.3242 |  | millions | -12.5571 | 0 | 0 | 0 | -12.5571 |  | millions | -7.6104 | 0 | 0 | 0 | -7.6104 |  | millions |  | -17.1233 | 0 | 0 | 0 | -17.1233 |  | millions |  | -22.8311 | 0 | 0 | 0 | -22.8311 |  |  | -3.3105 | 0 |  | 0 | -3.3105
1 | 0.90909 |  |  |  | -3.6822 | 6.8 | -0.93533 | -1.7923 | 4.182 |  |  |  |  | -3.3134 | 0 | 0 | 0 | -6.3255 |  |  |  | -3.4247 | 0 | 0 | 0 | -6.538 |  |  |  | -4.3242 | 0 | 0 | 0 | -8.2553 |  |  | -0.97248 | 2.8 | -0.54826 | -0.49841 | -11.3941 |  |  | -7.6104 | 0 | 0 | 0 | -14.5289 |  |  |  | -17.1233 | 0 | 0 | 0 | -32.6899 |  |  |  | -22.8311 | 0 | 0 | 0 | -43.5866 |  | -37.5426 | -3.3105 | 0 |  | 0 | -6.32
2 | 0.82645 |  |  |  | -3.7047 | 6.8 | -0.92858 | -2.5597 | 5.9727 |  |  |  |  | -3.3134 | 0 | 0 | 0 | -9.0638 |  |  |  | -3.4992 | 6.8 | -0.99023 | -0.81837 | -4.6284 |  |  |  | -4.3242 | 0 | 0 | 0 | -11.829 |  |  | -0.98512 | 2.8 | -0.54446 | -0.94838 | -10.3442 |  |  | -7.6104 | 0 | 0 | 0 | -20.8184 |  |  |  | -3.8994 | 1.92 | 0.59383 | 0.49077 | -33.835 |  |  |  | -0.49256 | 1.6 | -0.33223 | -0.30203 | -42.9459 |  |  | -3.3105 | 0 |  | 0 | -9.056
3 | 0.75131 |  |  |  | -3.7276 | 6.8 | -0.92173 | -3.2522 | 7.5885 |  |  |  |  | -3.3134 | 0 | 0 | 0 | -11.5532 |  |  |  | -3.5447 | 6.8 | -0.97658 | -1.5521 | -2.9164 |  |  |  | -4.3242 | 0 | 0 | 0 | -15.0778 |  |  | -0.99793 | 2.8 | -0.54062 | -1.3546 | -9.3964 |  |  | 0.51975 | 4 | -1.3559 | -1.0187 | -18.4414 |  |  |  | -3.9501 | 1.92 | 0.60904 | 0.94835 | -34.9027 |  |  |  | -0.49896 | 1.6 | -0.33031 | -0.60522 | -42.3668 |  |  | -2.4948 | 6.8 | -1.2916 | -0.97036 | -11.5432
4 | 0.68301 |  |  |  | -3.7507 | 6.8 | -0.9148 | -3.877 | 9.0464 |  |  |  |  | -1.8007 | 6.8 | -1.4998 | -1.0244 | -9.163 |  |  |  | -3.5908 | 6.8 | -0.96276 | -2.2097 | -1.3821 |  |  |  | -4.3242 | 0 | 0 | 0 | -18.0313 |  |  | -1.0109 | 2.8 | -0.53673 | -1.7212 | -8.5411 |  |  | 0.52651 | 4 | -1.358 | -1.9462 | -16.2772 |  |  |  | -4.0015 | 1.92 | 0.62445 | 1.3749 | -35.8979 |  |  |  | -0.50545 | 1.6 | -0.32836 | -0.57702 | -41.8435 |  |  | -2.5273 | 6.8 | -1.2818 | -1.8459 | -9.4849
5 | 0.62092 |  |  |  | -3.7741 | 6.8 | -0.90778 | -4.4407 | 10.3617 |  |  |  |  | -1.8241 | 6.8 | -1.4928 | -1.9513 | -7.0002 |  |  |  | -3.6375 | 6.8 | -0.94875 | -2.7988 | -0.0075205 |  |  |  | -1.3545 | 6.8 | -1.6336 | -1.0144 | -15.6645 |  |  | -1.024 | 2.8 | -0.53279 | -2.052 | -7.7691 |  |  | 0.53336 | 4 | -1.36 | -2.7907 | -14.3068 |  |  |  | -4.0535 | 1.92 | 0.64005 | 1.7723 | -36.8252 |  |  |  | -0.51202 | 1.6 | -0.32639 | -0.5513 | -41.3706 |  |  | -2.5601 | 6.8 | -1.272 | -2.6357 | -7.6278
6 | 0.56447 |  |  |  | -3.7978 | 6.8 | -0.90066 | -4.9491 | 11.5479 |  |  |  |  | -1.8478 | 6.8 | -1.4857 | -2.7899 | -5.0434 |  |  |  | -3.6848 | 6.8 | -0.93457 | -3.3263 | 1.2234 |  |  |  | -1.3722 | 6.8 | -1.6284 | -1.9335 | -13.5198 |  |  | -1.0374 | 2.8 | -0.52879 | -2.3505 | -7.0727 |  |  | 0.54029 | 4 | -1.3621 | -3.5595 | -12.5128 |  |  |  | -4.1062 | 1.92 | 0.65586 | 2.1425 | -37.6891 |  |  |  | -0.51868 | 1.6 | -0.3244 | -0.52782 | -40.9434 |  |  | -2.5934 | 6.8 | -1.262 | -3.348 | -5.9524
7 | 0.51316 |  |  |  | -3.8218 | 6.8 | -0.89346 | -5.4076 | 12.6177 |  |  |  |  | -1.8718 | 6.8 | -1.4785 | -3.5486 | -3.2732 |  |  |  | -3.7327 | 6.8 | -0.9202 | -3.7985 | 2.3252 |  |  |  | -1.39 | 6.8 | -1.623 | -2.7664 | -11.5764 |  |  | -1.0508 | 2.8 | -0.52475 | -2.6197 | -6.4443 |  |  | 0.54731 | 4 | -1.3642 | -4.2596 | -10.8793 |  |  |  | -4.1596 | 1.92 | 0.67187 | 2.4873 | -38.4935 |  |  |  | -0.52542 | 1.6 | -0.32237 | -0.50637 | -40.5574 |  |  | -2.6271 | 6.8 | -1.2519 | -3.9904 | -4.4414
8 | 0.46651 |  |  |  | -3.8461 | 6.8 | -0.88616 | -5.821 | 13.5823 |  |  |  |  | -1.8961 | 6.8 | -1.4712 | -4.2349 | -1.6718 |  |  |  | -3.7812 | 6.8 | -0.90564 | -4.221 | 3.311 |  |  |  | -1.4081 | 6.8 | -1.6176 | -3.521 | -9.8157 |  |  | -1.0645 | 2.8 | -0.52065 | -2.8626 | -5.8776 |  |  | 0.55443 | 4 | -1.3663 | -4.897 | -9.3921 |  |  |  | -4.2137 | 1.92 | 0.6881 | 2.8083 | -39.2426 |  |  |  | -0.53225 | 1.6 | -0.32032 | -0.48675 | -40.2087 |  |  | -2.6613 | 6.8 | -1.2416 | -4.5696 | -3.0787
9 | 0.4241 |  |  |  | -3.8708 | 6.8 | -0.87876 | -6.1937 | 14.4519 |  |  |  |  | -1.9208 | 6.8 | -1.4638 | -4.8557 | -0.2233 |  |  |  | -3.8304 | 6.8 | -0.89089 | -4.5988 | 4.1926 |  |  |  | -1.4264 | 6.8 | -1.6121 | -4.2047 | -8.2204 |  |  | -1.0783 | 2.8 | -0.5165 | -3.0817 | -5.3665 |  |  | 0.56164 | 4 | -1.3685 | -5.4774 | -8.0379 |  |  |  | -4.2684 | 1.92 | 0.70453 | 3.1071 | -39.9397 |  |  |  | -0.53917 | 1.6 | -0.31825 | -0.46879 | -39.8938 |  |  | -2.6959 | 6.8 | -1.2312 | -5.0918 | -1.85
10 | 0.38554 |  |  |  | -3.8958 | 6.8 | -0.87127 | -6.5296 | 15.2357 |  |  |  |  | -1.9458 | 6.8 | -1.4563 | -5.4171 | 1.0868 |  |  |  | -3.8802 | 6.8 | -0.87595 | -4.9365 | 4.9806 |  |  |  | -1.4449 | 6.8 | -1.6065 | -4.8241 | -6.7752 |  |  | -1.0924 | 2.8 | -0.51229 | -3.2792 | -4.9056 |  |  | 0.56894 | 4 | -1.3707 | -6.0058 | -6.8048 |  |  |  | -4.3239 | 1.92 | 0.72118 | 3.3851 | -40.5885 |  |  |  | -0.54618 | 1.6 | -0.31615 | -0.45233 | -39.6094 |  |  | -2.7309 | 6.8 | -1.2207 | -5.5625 | -0.74241
11 | 0.35049 |  |  |  | -3.9211 | 6.8 | -0.86368 | -6.8323 | 15.942 |  |  |  |  | -1.9711 | 6.8 | -1.4487 | -5.9249 | 2.2715 |  |  |  | -3.9306 | 6.8 | -0.86082 | -5.2383 | 5.6846 |  |  |  | -1.4637 | 6.8 | -1.6009 | -5.3852 | -5.4659 |  |  | -1.1066 | 2.8 | -0.50803 | -3.4572 | -4.4902 |  |  | 0.57633 | 4 | -1.3729 | -6.487 | -5.682 |  |  |  | -4.3801 | 1.92 | 0.73804 | 3.6438 | -41.1921 |  |  |  | -0.55328 | 1.6 | -0.31402 | -0.43721 | -39.3525 |  |  | -2.7664 | 6.8 | -1.2101 | -5.9866 | 0.25592
12 | 0.31863 |  |  |  | -3.9467 | 6.8 | -0.85599 | -7.105 | 16.5784 |  |  |  |  | -1.9967 | 6.8 | -1.441 | -6.384 | 3.3429 |  |  |  | -3.9817 | 6.8 | -0.84549 | -5.5077 | 6.3132 |  |  |  | -1.4827 | 6.8 | -1.5952 | -5.8934 | -4.28 |  |  | -1.1209 | 2.8 | -0.50372 | -3.6177 | -4.1157 |  |  | 0.58383 | 4 | -1.3751 | -6.9252 | -4.6596 |  |  |  | -4.4371 | 1.92 | 0.75512 | 3.8844 | -41.7535 |  |  |  | -0.56047 | 1.6 | -0.31186 | -0.42332 | -39.1207 |  |  | -2.8024 | 6.8 | -1.1993 | -6.3687 | 1.1556
13 | 0.28966 |  |  |  | -3.9726 | 6.8 | -0.84821 | -7.3507 | 17.1517 |  |  |  |  | -2.0226 | 6.8 | -1.4332 | -6.7992 | 4.3115 |  |  |  | -4.0335 | 6.8 | -0.82996 | -5.7481 | 6.8742 |  |  |  | -1.502 | 6.8 | -1.5894 | -6.3538 | -3.2057 |  |  | -1.1355 | 2.8 | -0.49934 | -3.7624 | -3.7782 |  |  | 0.59142 | 4 | -1.3774 | -7.3242 | -3.7287 |  |  |  | -4.4948 | 1.92 | 0.77243 | 4.1081 | -42.2756 |  |  |  | -0.56776 | 1.6 | -0.30967 | -0.41053 | -38.9114 |  |  | -2.8388 | 6.8 | -1.1884 | -6.7129 | 1.9662
14 | 0.26333 |  |  |  | -3.9989 | 6.8 | -0.84032 | -7.572 | 17.6681 |  |  |  |  | -2.0489 | 6.8 | -1.4253 | -7.1745 | 5.1873 |  |  |  | -4.0859 | 6.8 | -0.81423 | -5.9625 | 7.3745 |  |  |  | -1.5215 | 6.8 | -1.5835 | -6.7708 | -2.2327 |  |  | -1.1503 | 2.8 | -0.49492 | -3.8927 | -3.4741 |  |  | 0.5991 | 4 | -1.3797 | -7.6875 | -2.8809 |  |  |  | -4.5532 | 1.92 | 0.78996 | 4.3162 | -42.761 |  |  |  | -0.57514 | 1.6 | -0.30746 | -0.39873 | -38.7225 |  |  | -2.8757 | 6.8 | -1.1773 | -7.023 | 2.6963
15 | 0.23939 |  |  |  | -4.0256 | 6.8 | -0.83233 | -7.7713 | 18.133 |  |  |  |  | -2.0756 | 6.8 | -1.4173 | -7.5138 | 5.979 |  |  |  | -4.139 | 6.8 | -0.7983 | -6.1536 | 7.8204 |  |  |  | -1.5413 | 6.8 | -1.5776 | -7.1485 | -1.3515 |  |  | -1.1652 | 2.8 | -0.49043 | -4.0101 | -3.2001 |  |  | 0.60689 | 4 | -1.3821 | -8.0184 | -2.1089 |  |  |  | -4.6124 | 1.92 | 0.80771 | 4.5095 | -43.2121 |  |  |  | -0.58262 | 1.6 | -0.30521 | -0.38783 | -38.552 |  |  | -2.9131 | 6.8 | -1.1661 | -7.3021 | 3.354
16 | 0.21763 |  |  |  | -4.0526 | 6.8 | -0.82423 | -7.9507 | 18.5515 |  |  |  |  | -2.1026 | 6.8 | -1.4092 | -7.8205 | 6.6946 |  |  |  | -4.1928 | 6.8 | -0.78216 | -6.3238 | 8.2176 |  |  |  | -1.5613 | 6.8 | -1.5716 | -7.4905 | -0.55344 |  |  | -1.1804 | 2.8 | -0.48589 | -4.1159 | -2.9534 |  |  | 0.61478 | 4 | -1.3844 | -8.3197 | -1.4059 |  |  |  | -4.6723 | 1.92 | 0.8257 | 4.6892 | -43.6314 |  |  |  | -0.59019 | 1.6 | -0.30294 | -0.37774 | -38.3981 |  |  | -2.951 | 6.8 | -1.1547 | -7.5534 | 3.9461
17 | 0.19784 |  |  |  | -4.0799 | 6.8 | -0.81603 | -8.1121 | 18.9282 |  |  |  |  | -2.1299 | 6.8 | -1.401 | -8.0977 | 7.3414 |  |  |  | -4.2473 | 6.8 | -0.7658 | -6.4753 | 8.5711 |  |  |  | -1.5816 | 6.8 | -1.5655 | -7.8003 | 0.16925 |  |  | -1.1957 | 2.8 | -0.48128 | -4.2111 | -2.7312 |  |  | 0.62277 | 4 | -1.3868 | -8.594 | -0.76566 |  |  |  | -4.7331 | 1.92 | 0.84393 | 4.8562 | -44.021 |  |  |  | -0.59786 | 1.6 | -0.30064 | -0.36837 | -38.2594 |  |  | -2.9893 | 6.8 | -1.1432 | -7.7796 | 4.4791
18 | 0.17986 |  |  |  | -4.1076 | 6.8 | -0.80773 | -8.2574 | 19.2672 |  |  |  |  | -2.1576 | 6.8 | -1.3927 | -8.3482 | 7.9259 |  |  |  | -4.3025 | 6.8 | -0.74924 | -6.6101 | 8.8855 |  |  |  | -1.6022 | 6.8 | -1.5593 | -8.0807 | 0.82366 |  |  | -1.2113 | 2.8 | -0.47662 | -4.2968 | -2.5312 |  |  | 0.63087 | 4 | -1.3893 | -8.8439 | -0.18263 |  |  |  | -4.7946 | 1.92 | 0.86238 | 5.0113 | -44.3829 |  |  |  | -0.60564 | 1.6 | -0.29831 | -0.35966 | -38.1342 |  |  | -3.0282 | 6.8 | -1.1315 | -7.9831 | 4.9589
19 | 0.16351 |  |  |  | -4.1356 | 6.8 | -0.79931 | -8.3881 | 19.5722 |  |  |  |  | -2.1856 | 6.8 | -1.3843 | -8.5745 | 8.454 |  |  |  | -4.3585 | 6.8 | -0.73246 | -6.7298 | 9.165 |  |  |  | -1.623 | 6.8 | -1.5531 | -8.3347 | 1.4162 |  |  | -1.227 | 2.8 | -0.47189 | -4.374 | -2.3512 |  |  | 0.63907 | 4 | -1.3917 | -9.0715 | 0.34834 |  |  |  | -4.8569 | 1.92 | 0.88108 | 5.1554 | -44.7191 |  |  |  | -0.61351 | 1.6 | -0.29595 | -0.35154 | -38.0213 |  |  | -3.0675 | 6.8 | -1.1197 | -8.1662 | 5.3906
20 | 0.14864 |  |  |  | -4.164 | 6.8 | -0.79079 | -8.5056 | 19.8464 |  |  |  |  | -2.214 | 6.8 | -1.3758 | -8.779 | 8.9312 |  |  |  | -4.4151 | 6.8 | -0.71546 | -6.8362 | 9.4131 |  |  |  | -1.6441 | 6.8 | -1.5468 | -8.5646 | 1.9527 |  |  | -1.243 | 2.8 | -0.46711 | -4.4434 | -2.1891 |  |  | 0.64738 | 4 | -1.3942 | -9.2787 | 0.8319 |  |  |  | -4.9201 | 1.92 | 0.90003 | 5.2891 | -45.0312 |  |  |  | -0.62148 | 1.6 | -0.29355 | -0.34395 | -37.9194 |  |  | -3.1074 | 6.8 | -1.1078 | -8.3309 | 5.779
21 | 0.13513 |  |  |  | -4.1928 | 6.8 | -0.78215 | -8.6113 | 20.0931 |  |  |  |  | -2.2428 | 6.8 | -1.3672 | -8.9638 | 9.3623 |  |  |  | -4.4725 | 6.8 | -0.69824 | -6.9305 | 9.6333 |  |  |  | -1.6655 | 6.8 | -1.5404 | -8.7727 | 2.4383 |  |  | -1.2591 | 2.8 | -0.46226 | -4.5059 | -2.0434 |  |  | 0.6558 | 4 | -1.3967 | -9.4674 | 1.2723 |  |  |  | -4.984 | 1.92 | 0.91921 | 5.4134 | -45.3211 |  |  |  | -0.62956 | 1.6 | -0.29113 | -0.33683 | -37.8276 |  |  | -3.1478 | 6.8 | -1.0957 | -8.4789 | 6.1283
22 | 0.12285 |  |  |  | -4.222 | 6.8 | -0.77341 | -8.7063 | 20.3147 |  |  |  |  | -2.272 | 6.8 | -1.3584 | -9.1306 | 9.7516 |  |  |  | -4.5307 | 6.8 | -0.6808 | -7.0142 | 9.8284 |  |  |  | -1.6871 | 6.8 | -1.5339 | -8.9611 | 2.878 |  |  | -1.2755 | 2.8 | -0.45735 | -4.562 | -1.9123 |  |  | 0.66432 | 4 | -1.3993 | -9.6393 | 1.6734 |  |  |  | -5.0488 | 1.92 | 0.93865 | 5.5287 | -45.5901 |  |  |  | -0.63775 | 1.6 | -0.28868 | -0.33014 | -37.7449 |  |  | -3.1887 | 6.8 | -1.0834 | -8.612 | 6.4423
23 | 0.11168 |  |  |  | -4.2515 | 6.8 | -0.76455 | -8.7917 | 20.514 |  |  |  |  | -2.3015 | 6.8 | -1.3495 | -9.2813 | 10.1033 |  |  |  | -4.5896 | 6.8 | -0.66313 | -7.0882 | 10.0012 |  |  |  | -1.7091 | 6.8 | -1.5273 | -9.1317 | 3.276 |  |  | -1.2921 | 2.8 | -0.45238 | -4.6126 | -1.7944 |  |  | 0.67296 | 4 | -1.4019 | -9.7959 | 2.0387 |  |  |  | -5.1145 | 1.92 | 0.95834 | 5.6357 | -45.8398 |  |  |  | -0.64604 | 1.6 | -0.28619 | -0.32383 | -37.6703 |  |  | -3.2302 | 6.8 | -1.0709 | -8.7316 | 6.7246
24 | 0.10153 |  |  |  | -4.2814 | 6.8 | -0.75557 | -8.8684 | 20.693 |  |  |  |  | -2.3314 | 6.8 | -1.3406 | -9.4175 | 10.4209 |  |  |  | -4.6492 | 6.8 | -0.64523 | -7.1537 | 10.1541 |  |  |  | -1.7313 | 6.8 | -1.5206 | -9.2861 | 3.6362 |  |  | -1.3089 | 2.8 | -0.44734 | -4.658 | -1.6884 |  |  | 0.68171 | 4 | -1.4045 | -9.9385 | 2.3714 |  |  |  | -5.181 | 1.92 | 0.97829 | 5.735 | -46.0716 |  |  |  | -0.65444 | 1.6 | -0.28367 | -0.31787 | -37.6031 |  |  | -3.2722 | 6.8 | -1.0583 | -8.839 | 6.9783
25 | 0.092296 |  |  |  | -4.3117 | 6.8 | -0.74648 | -8.9373 | 20.8537 |  |  |  |  | -2.3617 | 6.8 | -1.3315 | -9.5403 | 10.7076 |  |  |  | -4.7097 | 6.8 | -0.6271 | -7.2116 | 10.2891 |  |  |  | -1.7538 | 6.8 | -1.5139 | -9.4258 | 3.9622 |  |  | -1.3259 | 2.8 | -0.44223 | -4.6988 | -1.5932 |  |  | 0.69057 | 4 | -1.4072 | -10.0684 | 2.6745 |  |  |  | -5.2483 | 1.92 | 0.99849 | 5.8272 | -46.2866 |  |  |  | -0.66294 | 1.6 | -0.28112 | -0.31221 | -37.5426 |  |  | -3.3147 | 6.8 | -1.0456 | -8.9356 | 7.2063
26 | 0.083905 |  |  |  | -4.3424 | 6.8 | -0.73727 | -8.9992 | 20.9981 |  |  |  |  | -2.3924 | 6.8 | -1.3223 | -9.6513 | 10.9665 |  |  |  | -4.7709 | 6.8 | -0.60873 | -7.2627 | 10.4083 |  |  |  | -1.7766 | 6.8 | -1.507 | -9.5523 | 4.2573 |  |  | -1.3431 | 2.8 | -0.43706 | -4.7355 | -1.5076 |  |  | 0.69954 | 4 | -1.4099 | -10.1867 | 2.9505 |  |  |  | -5.3165 | 1.92 | 1.019 | 5.9127 | -46.4861 |  |  |  | -0.67156 | 1.6 | -0.27853 | -0.30682 | -37.4881 |  |  | -3.3578 | 6.8 | -1.0327 | -9.0222 | 7.411
27 | 0.076278 |  |  |  | -4.3735 | 6.8 | -0.72794 | -9.0547 | 21.1276 |  |  |  |  | -2.4235 | 6.8 | -1.3129 | -9.7514 | 11.2002 |  |  |  | -4.8329 | 6.8 | -0.59012 | -7.3077 | 10.5133 |  |  |  | -1.7997 | 6.8 | -1.5001 | -9.6667 | 4.5243 |  |  | -1.3606 | 2.8 | -0.43182 | -4.7684 | -1.4308 |  |  | 0.70864 | 4 | -1.4126 | -10.2944 | 3.2019 |  |  |  | -5.3857 | 1.92 | 1.0397 | 5.992 | -46.6712 |  |  |  | -0.68029 | 1.6 | -0.27591 | -0.30168 | -37.4389 |  |  | -3.4015 | 6.8 | -1.0196 | -9.1 | 7.5948
28 | 0.069343 |  |  |  | -4.4051 | 6.8 | -0.71848 | -9.1045 | 21.2439 |  |  |  |  | -2.4551 | 6.8 | -1.3035 | -9.8418 | 11.4111 |  |  |  | -4.8957 | 6.8 | -0.57128 | -7.3473 | 10.6058 |  |  |  | -1.8231 | 6.8 | -1.4931 | -9.7702 | 4.7658 |  |  | -1.3783 | 2.8 | -0.42652 | -4.798 | -1.3618 |  |  | 0.71785 | 4 | -1.4154 | -10.3926 | 3.4309 |  |  |  | -5.4557 | 1.92 | 1.0607 | 6.0655 | -46.8428 |  |  |  | -0.68914 | 1.6 | -0.27326 | -0.29676 | -37.3947 |  |  | -3.4457 | 6.8 | -1.0063 | -9.1697 | 7.7597
29 | 0.063039 |  |  |  | -4.437 | 6.8 | -0.70891 | -9.1492 | 21.3482 |  |  |  |  | -2.487 | 6.8 | -1.2939 | -9.9234 | 11.6014 |  |  |  | -4.9594 | 6.8 | -0.55218 | -7.3821 | 10.687 |  |  |  | -1.8468 | 6.8 | -1.486 | -9.8639 | 4.9844 |  |  | -1.3962 | 2.8 | -0.42114 | -4.8245 | -1.2998 |  |  | 0.72718 | 4 | -1.4182 | -10.482 | 3.6395 |  |  |  | -5.5266 | 1.92 | 1.082 | 6.1337 | -47.0019 |  |  |  | -0.6981 | 1.6 | -0.27057 | -0.29202 | -37.3549 |  |  | -3.4905 | 6.8 | -0.99286 | -9.2323 | 7.9077
30 | 0.057309 |  |  |  | -4.4693 | 6.8 | -0.69921 | -9.1893 | 21.4416 |  |  |  |  | -2.5193 | 6.8 | -1.2842 | -9.997 | 11.7731 |  |  |  | -5.0239 | 6.8 | -0.53284 | -7.4127 | 10.7582 |  |  |  | -1.8708 | 6.8 | -1.4788 | -9.9486 | 5.1822 |  |  | -1.4143 | 2.8 | -0.4157 | -4.8484 | -1.2442 |  |  | 0.73664 | 4 | -1.421 | -10.5634 | 3.8295 |  |  |  | -5.5984 | 1.92 | 1.1035 | 6.197 | -47.1495 |  |  |  | -0.70717 | 1.6 | -0.26785 | -0.28746 | -37.3191 |  |  | -3.5359 | 6.8 | -0.97924 | -9.2885 | 8.0405
31 | 0.052099 |  |  |  | -4.502 | 6.8 | -0.68939 | -9.2252 | 21.5255 |  |  |  |  | -2.552 | 6.8 | -1.2744 | -10.0634 | 11.928 |  |  |  | -5.0892 | 6.8 | -0.51325 | -7.4394 | 10.8206 |  |  |  | -1.8951 | 6.8 | -1.4715 | -10.0253 | 5.361 |  |  | -1.4327 | 2.8 | -0.41018 | -4.8697 | -1.1944 |  |  | 0.74621 | 4 | -1.4239 | -10.6376 | 4.0026 |  |  |  | -5.6712 | 1.92 | 1.1254 | 6.2556 | -47.2863 |  |  |  | -0.71636 | 1.6 | -0.26509 | -0.28304 | -37.2869 |  |  | -3.5818 | 6.8 | -0.96545 | -9.3388 | 8.1595
32 | 0.047362 |  |  |  | -4.5352 | 6.8 | -0.67943 | -9.2574 | 21.6005 |  |  |  |  | -2.5852 | 6.8 | -1.2644 | -10.1233 | 12.0678 |  |  |  | -5.1553 | 6.8 | -0.4934 | -7.4628 | 10.8752 |  |  |  | -1.9198 | 6.8 | -1.4641 | -10.0946 | 5.5228 |  |  | -1.4514 | 2.8 | -0.40459 | -4.8889 | -1.1497 |  |  | 0.75591 | 4 | -1.4268 | -10.7052 | 4.1603 |  |  |  | -5.7449 | 1.92 | 1.1475 | 6.3099 | -47.4131 |  |  |  | -0.72568 | 1.6 | -0.2623 | -0.27876 | -37.2579 |  |  | -3.6284 | 6.8 | -0.95148 | -9.3838 | 8.2662
33 | 0.043057 |  |  |  | -4.5688 | 6.8 | -0.66935 | -9.2862 | 21.6678 |  |  |  |  | -2.6188 | 6.8 | -1.2544 | -10.1773 | 12.1938 |  |  |  | -5.2224 | 6.8 | -0.47329 | -7.4832 | 10.9227 |  |  |  | -1.9447 | 6.8 | -1.4566 | -10.1574 | 5.6692 |  |  | -1.4702 | 2.8 | -0.39893 | -4.9061 | -1.1096 |  |  | 0.76574 | 4 | -1.4297 | -10.7667 | 4.3039 |  |  |  | -5.8196 | 1.92 | 1.1699 | 6.3603 | -47.5307 |  |  |  | -0.73511 | 1.6 | -0.25947 | -0.27459 | -37.2318 |  |  | -3.6756 | 6.8 | -0.93733 | -9.4242 | 8.3618
34 | 0.039143 |  |  |  | -4.6029 | 6.8 | -0.65914 | -9.312 | 21.728 |  |  |  |  | -2.6529 | 6.8 | -1.2441 | -10.226 | 12.3074 |  |  |  | -5.2902 | 6.8 | -0.45293 | -7.5009 | 10.9641 |  |  |  | -1.97 | 6.8 | -1.449 | -10.2141 | 5.8015 |  |  | -1.4893 | 2.8 | -0.3932 | -4.9215 | -1.0737 |  |  | 0.7757 | 4 | -1.4327 | -10.8228 | 4.4348 |  |  |  | -5.8953 | 1.92 | 1.1926 | 6.407 | -47.6396 |  |  |  | -0.74467 | 1.6 | -0.2566 | -0.27052 | -37.2084 |  |  | -3.7233 | 6.8 | -0.923 | -9.4603 | 8.4474
35 | 0.035584 |  |  |  | -4.6374 | 6.8 | -0.64879 | -9.3351 | 21.7819 |  |  |  |  | -2.6874 | 6.8 | -1.2338 | -10.2699 | 12.4099 |  |  |  | -5.359 | 6.8 | -0.4323 | -7.5163 | 11 |  |  |  | -1.9956 | 6.8 | -1.4413 | -10.2654 | 5.9212 |  |  | -1.5087 | 2.8 | -0.38739 | -4.9352 | -1.0415 |  |  | 0.78578 | 4 | -1.4357 | -10.8739 | 4.554 |  |  |  | -5.9719 | 1.92 | 1.2156 | 6.4503 | -47.7405 |  |  |  | -0.75435 | 1.6 | -0.2537 | -0.26653 | -37.1873 |  |  | -3.7717 | 6.8 | -0.90848 | -9.4926 | 8.5241
36 | 0.032349 |  |  |  | -4.6723 | 6.8 | -0.63831 | -9.3557 | 21.83 |  |  |  |  | -2.7223 | 6.8 | -1.2233 | -10.3094 | 12.5022 |  |  |  | -5.4287 | 6.8 | -0.4114 | -7.5296 | 11.031 |  |  |  | -2.0216 | 6.8 | -1.4335 | -10.3117 | 6.0294 |  |  | -1.5283 | 2.8 | -0.38151 | -4.9476 | -1.0127 |  |  | 0.79599 | 4 | -1.4388 | -10.9204 | 4.6626 |  |  |  | -6.0496 | 1.92 | 1.2389 | 6.4903 | -47.834 |  |  |  | -0.76415 | 1.6 | -0.25075 | -0.26262 | -37.1684 |  |  | -3.8208 | 6.8 | -0.89377 | -9.5215 | 8.5927
37 | 0.029408 |  |  |  | -4.7077 | 6.8 | -0.62769 | -9.3742 | 21.8731 |  |  |  |  | -2.7577 | 6.8 | -1.2127 | -10.3451 | 12.5854 |  |  |  | -5.4993 | 6.8 | -0.39022 | -7.5411 | 11.0578 |  |  |  | -2.0478 | 6.8 | -1.4256 | -10.3537 | 6.1272 |  |  | -1.5482 | 2.8 | -0.37555 | -4.9586 | -0.98694 |  |  | 0.80634 | 4 | -1.4419 | -10.9628 | 4.7615 |  |  |  | -6.1282 | 1.92 | 1.2625 | 6.5275 | -47.9206 |  |  |  | -0.77409 | 1.6 | -0.24777 | -0.25877 | -37.1514 |  |  | -3.8704 | 6.8 | -0.87887 | -9.5474 | 8.654
38 | 0.026735 |  |  |  | -4.7435 | 6.8 | -0.61694 | -9.3907 | 21.9116 |  |  |  |  | -2.7935 | 6.8 | -1.2019 | -10.3772 | 12.6604 |  |  |  | -5.5707 | 6.8 | -0.36878 | -7.5509 | 11.0808 |  |  |  | -2.0745 | 6.8 | -1.4177 | -10.3916 | 6.2157 |  |  | -1.5683 | 2.8 | -0.36951 | -4.9685 | -0.96389 |  |  | 0.81682 | 4 | -1.445 | -11.0015 | 4.8517 |  |  |  | -6.2079 | 1.92 | 1.2864 | 6.5618 | -48.0009 |  |  |  | -0.78415 | 1.6 | -0.24475 | -0.25497 | -37.1361 |  |  | -3.9208 | 6.8 | -0.86377 | -9.5705 | 8.7088
39 | 0.024304 |  |  |  | -4.7799 | 6.8 | -0.60604 | -9.4054 | 21.946 |  |  |  |  | -2.8299 | 6.8 | -1.191 | -10.4062 | 12.7279 |  |  |  | -5.6432 | 6.8 | -0.34705 | -7.5593 | 11.1005 |  |  |  | -2.1014 | 6.8 | -1.4096 | -10.4258 | 6.2956 |  |  | -1.5887 | 2.8 | -0.36339 | -4.9773 | -0.94328 |  |  | 0.82744 | 4 | -1.4482 | -11.0367 | 4.9338 |  |  |  | -6.2886 | 1.92 | 1.3106 | 6.5937 | -48.0752 |  |  |  | -0.79435 | 1.6 | -0.2417 | -0.25122 | -37.1224 |  |  | -3.9717 | 6.8 | -0.84848 | -9.5911 | 8.7578
40 | 0.022095 |  |  |  | -4.8166 | 6.8 | -0.59501 | -9.4186 | 21.9766 |  |  |  |  | -2.8666 | 6.8 | -1.18 | -10.4323 | 12.7888 |  |  |  | -5.7165 | 6.8 | -0.32504 | -7.5665 | 11.1172 |  |  |  | -2.1287 | 6.8 | -1.4014 | -10.4568 | 6.3678 |  |  | -1.6093 | 2.8 | -0.3572 | -4.9852 | -0.92487 |  |  | 0.8382 | 4 | -1.4515 | -11.0687 | 5.0086 |  |  |  | -6.3703 | 1.92 | 1.3351 | 6.6232 | -48.144 |  |  |  | -0.80467 | 1.6 | -0.2386 | -0.2475 | -37.1101 |  |  | -4.0234 | 6.8 | -0.83299 | -9.6095 | 8.8015

## plot
| $/kWe | ¢/kWh | ¢/kWh |  | ¢/kWh
Plant type | Construction cost | Construction cost | Levelized Cost | Capacity factor | O&M
gas | 600 | 6.8493 | 5.52 | 85% | 0.35
Coal | 1161 | 13.2534 | 4.25 | 85% | 0.66
Wind | 1100 | 12.5571 | 6.81 | 35% | 0.96
Hydro | 2000 | 22.8311 | 4 | 50% | 0.98
Nuclear | 1894 | 21.621 | 5.01 | 85% | 0.85
PV | 4000 | 45.6621 | 22.8 | 24% | 0.48
Thml Solar | 3000 | 34.2466 | 33.7 | 24% | 3.8